## Single Unit
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number
Full Site Address
Installation company
Installation Engineer
Training Registration Number
Commissioning Engineer
Training Registration Number
Commissioning Date
Distributor
System Information
Indoor model RAS/RAV-RM****T-E
Indoor serial number
Outdoor model RAS/RAV-GM/GP****ATP-E
Outdoor serial number
Fuse size and type
Refrigeration circuit
Strength test Value
Leak test Value
Vacuum achieved (torr)
Vacuum Maintained for 30 minutes
Refrigerant
Refrigerant type
Suction pipe size
Liquid pipe size
Refrigerant circuit length (M)
Factory refrigerant charge (kg)
Additional refrigerant added (kg)
Total system refrigerant charge (kg)
Running tests (C/H) @ test condition | Heating | Cooling
Return air temperature
Supply air temperature
Comments
Note on A31: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## 8 Units
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number | TBC
Full Site Address | TBC
Installation company | TBC
Installation Engineer | TBC
Training Registration Number | TBC
Commissioning Engineer | TBC
Training Registration Number | TBC
Commissioning Date | TBC
Distributor | TBC
System Information
System number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Indoor model RAS/RAV-RM****T-E | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Indoor serial number | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor model RAS/RAV-GM/GP****ATP-E | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor serial number | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Fuse size and type | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Refrigeration circuit
Strength test Value | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
Leak test Value | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
Vacuum achieved (torr) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Vacuum Maintained for 30 minutes | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
Refrigerant
Refrigerant type | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Suction pipe size | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Liquid pipe size | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Refrigerant circuit length (M) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Factory refrigerant charge (kg) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional refrigerant added (kg) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total system refrigerant charge (kg) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Running tests (C/H) | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat
Return air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Supply air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Comments
Note on A32: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## Twin Splits
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number | TBC
Full Site Address | TBC
Installation company | TBC
Installation Engineer | TBC
Training Registration Number | TBC
Commissioning Engineer | TBC
Training Registration Number | TBC
Commissioning Date | TBC
Distributor | TBC
System Information
System number | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2
Indoor model RAV-RM****T-E | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Indoor serial number | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor model RAV-GM/GP****ATP-E | TBC |  | TBC |  | TBC |  | TBC
Outdoor serial number | TBC |  | TBC |  | TBC |  | TBC
Fuse size and type | TBC |  | TBC |  | TBC |  | TBC
Refrigeration circuit
Strength test Value | Yes No |  | Yes No |  | Yes No |  | Yes No
Leak test Value | Yes No |  | Yes No |  | Yes No |  | Yes No
Vacuum achieved (torr) | TBC |  | TBC |  | TBC |  | TBC
Vacuum Maintained for 30 minutes | Yes No |  | Yes No |  | Yes No |  | Yes No
Refrigerant
Refrigerant type | TBC |  | TBC |  | TBC |  | TBC
Suction pipe size | TBC |  | TBC |  | TBC |  | TBC
Pipe Sizes (Branch) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Refrigerant circuit length - main pipes (M) | TBC |  | TBC |  | TBC |  | TBC
Refrigerant circuit length - branch pipes (M) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Additional refrigerant added (Kg) | 0 |  | 0 |  | 0 |  | 0
Factory refrigerant charge (kg) | 0 |  | 0 |  | 0 |  | 0
Total system refrigerant charge (kg) | 0 |  | 0 |  | 0 |  | 0
Running tests (C/H) | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat
Return air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Supply air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Comments
Note on A33: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## Triple Splits
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number | TBC
Full Site Address | TBC
Installation company | TBC
Installation Engineer | TBC
Training Registration Number | TBC
Commissioning Engineer | TBC
Training Registration Number | TBC
Commissioning Date | TBC
Distributor | TBC
System Information
System number | 1 | 2 | 3 | 1 | 2 | 3
Indoor model RAV-RM****T-E | TBC | TBC | TBC | TBC | TBC | TBC
Indoor serial number | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor model RAV-GM/GP****ATP-E | TBC |  |  | TBC
Outdoor serial number | TBC |  |  | TBC
Fuse size and type | TBC |  |  | TBC
Rerigeration Circuit
Strength test Value | TBC |  |  | TBC
Leak test Value | TBC |  |  | TBC
Vacuum achieved (torr) | TBC |  |  | TBC
Vacuum Maintained for 30 minutes | TBC |  |  | TBC
Refrigerant
Refrigerant type | TBC |  |  | TBC
Pipe Sizes (Main) | TBC |  |  | TBC
Pipe Sizes (Branch) | TBC | TBC | TBC | TBC | TBC | TBC
refrigerant circuit length - main pipes (M) | TBC |  |  | TBC
Refrigerant circuit length - branch pipes (M) | TBC | TBC | TBC | TBC | TBC | TBC
Additional refrigerant added (Kg) | 0 |  |  | 0
Factory refrigerant charge (kg) | 0 |  |  | 0
Total system refrigerant charge (kg) | 0 |  |  | 0
Running tests (C/H) | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat
Return air temperature | Required | Required | Required | Required | Required | Required
Supply air temperature | Required | Required | Required | Required | Required | Required
Comments
Note on A33: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## Quad Splits
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number | TBC
Full Site Address | TBC
Installation company | TBC
Installation Engineer | TBC
Training Registration Number | TBC
Commissioning Engineer | TBC
Training Registration Number | TBC
Commissioning Date | TBC
Distributor | TBC
System Information
System number | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
Indoor model RAV-RM****T-E | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Indoor serial number | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor model RAV-GM/GP****ATP-E | TBC |  |  |  | TBC
Outdoor serial number | TBC |  |  |  | TBC
Fuse size and type | TBC |  |  |  | TBC
Rerigeration Circuit
Strength test Value | TBC |  |  |  | TBC
Leak test Value | TBC |  |  |  | TBC
Vacuum achieved (torr) | TBC |  |  |  | TBC
Vacuum Maintained for 30 minutes | TBC |  |  |  | TBC
Refrigerant
Refrigerant type | TBC |  |  |  | TBC
Pipe Sizes (Main) | TBC |  |  |  | TBC
Pipe Sizes (Sub) | TBC |  | TBC |  | TBC |  | TBC
Pipe Sizes (Branch) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Refrigerant circuit length - Main pipe (M) | TBC |  |  |  | TBC
Refrigerant circuit length - Sub pipes (M) | TBC |  | TBC |  | TBC |  | TBC
Refrigerant circuit length - Branch pipes (M) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Additional refrigerant added (Kg) | 0 |  |  |  | 0
Factory refrigerant charge (kg) | 0 |  |  |  | 0
Total system refrigerant charge (kg) | 0 |  |  |  | 0
Running tests (C/H) | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat
Return air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Supply air temperature | Required | Required | Required | Required | Required | Required | Required | Required
Comments
Note on A35: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## RAS Multi
TOSHIBA AIR CONDITIONING
Site Information
Site Name/ Store Number
Full Site Address
Installation company
Installation Engineer
Training Registration Number
Commissioning Engineer
Training Registration Number
Commissioning Date
Distributor
System Information
Indoor Unit Circuits | Circuit A | Circuit B | Circuit C | Circuit D | Circuit E
Indoor model RAS-
Indoor serial number
Outdoor model RAS-
Outdoor serial number
Fuse size and type
Refrigeration circuit
Strength test Value
Leak test Value
Vacuum achieved (torr)
Vacuum Maintained for 30 minutes
Refrigerant
Indoor Pipe Configuration | Circuit A | Circuit B | Circuit C | Circuit D | Circuit E
Suction pipe size
Liquid pipe size
Refrigerant circuit length (M) (Liquid Pipe Only)
Factory refrigerant charge (kg)
Additional refrigerant added (kg)
Total system refrigerant charge (kg)
Refrigerant Type
Running tests (C/H) @ test condition | Cool/Heat | Cool/Heat | Cool/Heat | Cool/Heat | Cool/Heat
Return air temperature
Supply air temperature
Comments
Note on A33: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.

## VRF
TOSHIBA AIR CONDITIONING
SHRMi / SHRMe / SMMSi / SMMSe / Mini-SMMS
Site Information
Site Name/ Store Number
Full Site Address
Installation company
Installation Engineer
Training Registration Number
Commissioning Engineer
Training Registration Number
Commissioning Date
Distributor
System Information
Outdoor Units |  | Model N° |  |  | Serial N°
|  | Model N° |  |  | Serial N°
|  | Model N° |  |  | Serial N°
|  | Model N° |  |  | Serial N°
Indoor Units |  | Qty (total)
Prior To Operating The System;
The installation has been strength tested to (inc oil balance line) |  |  |  | Psig \ Bar | For a duration of |  | Hours
The installation has been leak tested to (inc oil balance line) |  |  |  | Psig \ Bar | For a duration of |  | Hours
The installation has been evacuated to (inc oil balance line) |  |  |  | Torr \ mBar | For a duration of |  | Hours
The installation has been maintained at (inc oil balance line) |  |  |  | Torr \ mBar | For a duration of |  | Hours
INDOOR UNITS
Unit Number | Installed Equipment Indoors |  |  | Cooling Mode |  | Heating Mode
| Model |  | Serial | Return Air | Supply Air | Return Air | Supply Air
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
ADDITIONAL REFRIGERANT
Measure the total liquid line pipe lengths for each different diameter.
Total length 1/4" liquid pipe (meters) |  |  |  | Additional refrigerant added |  |  | Kg
Total length 3/8" liquid pipe (meters)
Total length 1/2" liquid pipe (meters) |  |  |  | Note:
Total length 5/8" liquid pipe (meters) |  |  |  | Additional refrigerant charges must be calculated using formula found within installation manual supplied with condenser
Total length 3/4" liquid pipe (meters)
Total length 7/8" liquid pipe (meters)
ELECTRICAL and OPERATION
Electrical installation must be in accordance with all local and national regulations
Outdoor Unit |  | Breaker Size |  |  | Type
Header
Follower
Follower
Follower
Comments